Asbestos

| Prepare | Location? Distractions? Talk aids? |
| --- | --- |
| Reason | Up to 3000 people a year, from all industries, die from asbestos-related diseases. |
| Why | Be aware of asbestos – it could kill you. |
| Outline | This talk will cover: where you will find it, how it can affect you and hazardous work. |

# Where you will find Asbestos

- Insulation and sprayed coatings used for:

- Boilers, plant and pipework hidden in underfloor ducting.

- Fire protection to steelwork, hidden behind false ceilings.

- Thermal and acoustic insulation of buildings.

- Some textured coatings and paints.

# Q: Where will you find insulation and sprayed coatings?

- Insulating board used in the following places:

- Fire protection doors, protected exits and steelwork.

- Cladding on walls and ceilings

- Internal walls, partitions and suspended ceiling tiles.

# Q: where will you find insulating boards?

- Asbestos cement, which is found as:

- Corrugated roofing and cladding sheets of buildings

- Flat sheets for partitions, cladding and door facings

- Rainwater gutters and downpipes

# Q: Where will you find asbestos cement?

How Asbestos Can Affect You

- Asbestos breaks into tiny, sharp fibres.  They can get lodged and scar the lungs, causing asbestosis or fibrosis.

- Asbestos fibres may also cause lung cancer.

- It can also cause mesothelioma, a cancer of the inner lining of the chest wall.  This cancer is incurable.

- Smokers are at much greater risk to asbestos diseases.

# Q: In what ways can asbestos fibres affect you?

Hazardous Work

- Plumbers, carpenters and electricians working on building repair are considered most at risk.

- Old buildings constructed in the 1950’s and 60’s may have many forms of asbestos materials used in them.

- The removing of roofing felts, old floor tiles, textured paints and plasters containing asbestos.

- If you think you’ve come across asbestos, stop work and tell your supervisor or foreman.

# Q: What are some of the hazardous work areas?

- Note to supervisor: Now inform your workforce of the company policy regarding working with asbestos.

# Do you have any questions for me?

Questions for you

Q: What would you do if you thought that you had discovered asbestos materials in your work area?

Q: What diseases can exposure to asbestos cause?

REMEMBER IF YOU SUSPECT ASBESTOS, STOP WORK IMMEDIATELY AND TELL YOUR SUPERVISOR

Further information

- HSE Leaflet – INDG188 Asbestos alert

- HSE Leaflet – INDG107 Asbestos and you